## Slide 1: Adding a LASER Frequency Comb to NIRSPEC
Peter Plavchan, NExScI
Keck Science Meeting 2009

## Slide 2: Proposed Upgrade
Develop a LASER frequency comb to place in front of the NIRSPEC instrument (e.g. Li et al., Nature, 2008)
Upgrade the NIRSPEC detector

## Slide 3: Why?
The current best radial velocity precision with NIRSPEC is ~300 m/s for bright targets, or ~1/30th of a resolution element. This lags by ~2 orders of magnitude behind the precision obtainable with HIRES.
OH sky emission lines are not the best wavelength calibrators. NIRSPEC lacks a wavelength calibration source similar to the Iodine cell for HIRES.
A laser frequency comb provides a wavelength calibration technique that will work in the near-IR

## Slide 4: Why? (2)
The Exoplanet Task Force has highlighted M dwarfs as high value targets for identifying exoplanets in the habitable zone (for a variety of reasons).
M dwarfs are red, emitting most of their bolometric luminosity in the near-IR (and consequently relatively stable). M dwarfs are optically variable, making them difficult targets for high precision RV.

## Slide 5: Proposed Observing Modes
A near IR hires spectrograph with ~m/s radial velocity precision will open up the study of many near-IR bright targets such as young embedded stars potentially undergoing planet formation and migration.
It could be combined with HIRES operating on Keck I to simultaneously observe exoplanet targets (such as Kepler followup), offering the potential to improve the radial velocity precision in faint targets via additional stellar lines and wavelength leverage.

## Slide 6: Cost Considerations
Estimated at ~$.5-2M, a substantial discount over the development of a new instrument, with a high yield in improved science