## clamped_grating
Flexure tests in optical lab with mahr gauges | [5 empty] | 2001-05-31
Slider #4 mounted on 1" plate - tilt clamped
Clamp 5 set approx. 250 lb. - required 140 lb to close contact on hardpads at PA = 270
| Gauge 1 | Gauge 7 | Gauge 8 |  | diff 1 - 7 | diff 7 - 8
270 | 0 | 0 | 0 |  | 0 | 0
315 | 0.4 | -0.2 | -0.2 |  | 0.6 | 0
0 | 0.8 | -0.5 | -0.5 |  | 1.3 | 0
45 | 0.9 | -0.5 | -0.6 |  | 1.4 | 0.1
90 | 0.8 | -0.5 | -0.5 |  | 1.3 | 0
135 | 0.2 | 0.1 | 0 |  | 0.1 | 0.1
180 | -0.3 | 0.5 | 0.6 |  | -0.8 | -0.1
225 | -0.5 | 0.8 | 0.7 |  | -1.3 | 0.1
270 | -0.2 | 0.7 | 0.5 |  | -0.9 | 0.2
225 | -0.4 | 0.8 | 0.7 |  | -1.2 | 0.1
180 | -0.4 | 0.8 | 0.6 |  | -1.2 | 0.2
135 | 0 | 0.3 | 0.4 |  | -0.3 | -0.1
90 | 0.4 | 0 | 0.2 |  | 0.4 | -0.2
45 | 0.8 | -0.5 | -0.5 |  | 1.3 | 0
0 | 0.8 | -0.6 | -0.6 |  | 1.4 | 0
315 | 0.5 | -0.5 | -0.4 |  | 1 | -0.1
270 | 0 | -0.2 | 0 |  | 0.2 | -0.2
|  |  |  | range | 2.7 | 0.4
| px 1 - 7 | px 7 - 8
| y flex. | x flex.
270 | 0 | 0
315 | 4.1937 | 0
0 | 9.0864 | 0
45 | 9.7854 | 0.99569
90 | 9.0864 | 0
135 | 0.69895 | 0.99569
180 | -5.5916 | -0.99569
225 | -9.0864 | 0.99569
270 | -6.2906 | 1.9914
225 | -8.3875 | 0.99569
180 | -8.3875 | 1.9914
135 | -2.0969 | -0.99569
90 | 2.7958 | -1.9914
45 | 9.0864 | 0
0 | 9.7854 | 0
315 | 6.9895 | -0.99569
270 | 1.3979 | -1.9914
max | 9.7854 | 1.9914
min | -9.0864 | -1.9914 |  | Drew's blip at PA = 90
total | 18.8718 | 3.9828
assumed
mirror

## unclamped_grating
Flexure tests in optical lab with mahr gauges | [5 empty] | 2001-05-31
Slider #4 mounted on 1" plate - tilt unclamped
Clamp 5 set approx. 250 lb. - required 140 lb to close contact on hardpads at PA = 270
| Gauge 1 | Gauge 7 | Gauge 8 |  | diff 1 - 7 | diff 7 - 8
270 | 0 | 0 | 0 |  | 0 | 0
315 | -0.5 | 0.7 | 0.6 |  | -1.2 | 0.1
0 | -0.4 | 0.9 | 0.6 |  | -1.3 | 0.3
45 | 0 | 0.7 | 0.4 |  | -0.7 | 0.3
90 | 0.4 | 0.2 | 0.2 |  | 0.2 | 0
135 | 0.8 | -0.4 | -0.4 |  | 1.2 | 0
180 | 0.8 | -0.6 | -0.5 |  | 1.4 | -0.1
225 | 0.5 | -0.5 | -0.3 |  | 1 | -0.2
270 | 0 | -0.1 | 0 |  | 0.1 | -0.1
225 | 0.3 | -0.3 | -0.2 |  | 0.6 | -0.1
180 | 0.7 | -0.5 | -0.5 |  | 1.2 | 0
135 | 0.9 | -0.5 | -0.6 |  | 1.4 | 0.1
90 | 0.8 | -0.4 | -0.5 |  | 1.2 | 0.1
45 | 0.2 | 0.2 | 0.1 |  | 0 | 0.1
0 | -0.3 | 0.5 | 0.6 |  | -0.8 | -0.1
315 | -0.5 | 0.7 | 0.7 |  | -1.2 | 0
270 | -0.2 | 0.7 | 0.6 |  | -0.9 | 0.1
| 1.4 | 1.5 | 1.3 | range | 2.7 | 0.5
| px 1 - 7 | px 7 - 8
| y flex. | x flex.
270 | 0 | 0
225 | -8.3875 | 0.99569
180 | -9.0864 | 2.9871
135 | -4.8927 | 2.9871
90 | 1.3979 | 0
45 | 8.3875 | 0
0 | 9.7854 | -0.99569
315 | 6.9895 | -1.9914
270 | 0.69895 | -0.99569
315 | 4.1937 | -0.99569
0 | 8.3875 | 0
45 | 9.7854 | 0.99569
90 | 8.3875 | 0.99569
135 | 0 | 0.99569
180 | -5.5916 | -0.99569
225 | -8.3875 | 0
270 | -6.2906 | 0.99569
max | 9.7854 | 2.9871
min | -9.0864 | -1.9914 |  | Drew's blip at PA = 90
total | 18.8718 | 4.9784
assumed
mirror

## Slider
Flexure tests in optical lab with mahr gauges |  |  |  | 2001-05-31
Slider #4 mounted on 1" plate - tilt unclamped
| Gauge 11 | Gauge 12 | Gauge 13
270 | 0 | 0 | 0
315 | 1 | 0 | -1.7
0 | 2 | 0.5 | -2.8
45 | 2 | 0 | -2.9
90 | 2 | 0 | -2.4
135 | 0.5 | 0 | -0.5
180 | -0.5 | -0.5 | 0.7
225 | -0.5 | -0.5 | 0.9
270 | 0 | 0 | 0.1
225 | -0.5 | -0.5 | 0.8
180 | -0.5 | 0 | 0.8
135 | -0.5 | -0.5 | 0.2
90 | 0 | 0 | -0.8
45 | 1.5 | 0 | -2.4
0 | 2 | 0 | -2.8
315 | 2 | 0 | -2.2
270 | 1.5 | 0 | -1.2
| mils | mils
| 11 - 12 | 13
270 | 0 | 0
315 | 1 | -1.7
0 | 1.5 | -2.8
45 | 2 | -2.9
90 | 2 | -2.4
135 | 0.5 | -0.5
180 | 0 | 0.7
225 | 0 | 0.9
270 | 0 | 0.1
225 | 0 | 0.8
180 | -0.5 | 0.8
135 | 0 | 0.2
90 | 0 | -0.8
45 | 1.5 | -2.4
0 | 2 | -2.8
315 | 2 | -2.2
270 | 1.5 | -1.2
max | 2 | 0.9
min | -0.5 | -2.9
total | 2.5 | 3.8

## Tilter
Flexure tests in optical lab with mahr gauges |  |  |  | 2001-05-31
Slider #4 mounted on 1" plate - tilt unclamped
| Gauge 3 | Gauge 4 | Gauge 10
270 | 0 | 0 | 0
315 | 0.2 | 0.2 | -0.3
0 | 0.4 | 0.4 | -0.7
45 | 0 | 0.4 | -0.8
90 | -0.1 | 0.3 | -0.6
135 | -0.5 | 0 | 0.2
180 | -0.6 | -0.3 | 0.8
225 | -0.7 | -0.4 | 0.9
270 | -0.9 | -0.2 | 0.7
225 | -1 | -0.4 | 0.9
180 | -0.9 | -0.4 | 0.8
135 | -0.6 | -0.2 | 0.5
90 | -0.4 | 0.1 | 0.1
45 | -0.2 | 0.4 | -0.6
0 | 0 | 0.4 | -0.7
315 | -0.2 | 0.3 | -0.4
270 | -0.5 | 0 | 0.1
| mils | mils
| 3 - 4 | 10 - 4
270 | 0 | 0
315 | 0 | -0.5
0 | 0 | -1.1
45 | -0.4 | -1.2
90 | -0.4 | -0.9
135 | -0.5 | 0.2
180 | -0.3 | 1.1
225 | -0.3 | 1.3
270 | -0.7 | 0.9
225 | -0.6 | 1.3
180 | -0.5 | 1.2
135 | -0.4 | 0.7
90 | -0.5 | 0
45 | -0.6 | -1
0 | -0.4 | -1.1
315 | -0.5 | -0.7
270 | -0.5 | 0.1
max | 0 | 1.3
min | -0.7 | -1.2
total | 0.7 | 2.5

## Tilter_1
Flexure tests in optical lab with mahr gauges |  |  |  | 2001-05-31
Slider #4 mounted on 1" plate - tilt unclamped
| Gauge 4 | Gauge 9 | Gauge 10
270 | 0 | 0 | 0
315 | 0.3 | -0.5 | -0.8
0 | 0.5 | -0.9 | -1.3
45 | 0.6 | -1.1 | -1.4
90 | 0.5 | -1.1 | -1.2
135 | 0.1 | -0.4 | -0.4
180 | -0.2 | -0.2 | 0.2
225 | -0.2 | -0.3 | 0.3
270 | -0.1 | -0.1 | 0.1
225 | -0.2 | 0 | 0.3
180 | -0.2 | -0.1 | 0.2
135 | 0 | -0.6 | -0.1
90 | 0.2 | -1 | -0.5
45 | 0.5 | -1.4 | -1.2
0 | 0.6 | -1.3 | -1.3
315 | 0.4 | -1 | -1.1
270 | 0.1 | -0.4 | -0.6
| mils | mils
| 4 - 10 | 10 - 9
270 | 0 | 0
315 | 1.1 | -0.3
0 | 1.8 | -0.4
45 | 2 | -0.3
90 | 1.7 | -0.1
135 | 0.5 | 0
180 | -0.4 | 0.4
225 | -0.5 | 0.6
270 | -0.2 | 0.2
225 | -0.5 | 0.3
180 | -0.4 | 0.3
135 | 0.1 | 0.5
90 | 0.7 | 0.5
45 | 1.7 | 0.2
0 | 1.9 | 0
315 | 1.5 | -0.1
270 | 0.7 | -0.2
max | 2 | 0.6
min | -0.5 | -0.4
total | 2.5 | 1

## Clamped_pin_corner
Flexure tests in optical lab with mahr gauges | [5 empty] | 2001-06-04
Slider #4 mounted on 1" plate - "pin corner" of slider clamped to 1" plate
| Gauge 1 | Gauge 7 | Gauge 8 |  | diff 1 - 7 | diff 7 - 8
270 | 0 | 0 | 0 |  | 0 | 0
225 | -0.3 | 0 | 0 |  | -0.3 | 0
180 | -0.3 | 0.1 | 0.1 |  | -0.4 | 0
135 | 0 | 0.1 | 0 |  | -0.1 | 0.1
90 | 0.2 | 0.1 | 0 |  | 0.1 | 0.1
45 | 0.3 | 0.2 | 0 |  | 0.1 | 0.2
360 | 0.5 | 0.2 | 0.1 |  | 0.3 | 0.1
315 | 0.5 | 0.2 | 0.1 |  | 0.3 | 0.1
270 | 0.3 | 0.1 | 0.1 |  | 0.2 | 0
315 | 0.5 | 0.1 | 0.1 |  | 0.4 | 0
360 | 0.6 | 0.1 | 0.1 |  | 0.5 | 0
45 | 0.7 | 0.2 | 0 |  | 0.5 | 0.2
90 | 0.7 | 0.2 | 0 |  | 0.5 | 0.2
135 | 0.1 | 0.1 | 0 |  | 0 | 0.1
180 | -0.3 | 0.1 | 0 |  | -0.4 | 0.1
225 | -0.5 | 0.1 | 0.1 |  | -0.6 | 0
270 | 0 | 0.1 | 0.1 |  | -0.1 | 0
|  |  |  | range | 1.1 | 0.2
| px 1 - 7 | px 7 - 8
| y flex. | x flex.
270 | 0 | 0
225 | -2.0969 | 0
180 | -2.7958 | 0
135 | -0.69895 | 0.99569
90 | 0.69895 | 0.99569
45 | 0.69895 | 1.9914
360 | 2.0969 | 0.99569
315 | 2.0969 | 0.99569
270 | 1.3979 | 0
315 | 2.7958 | 0
360 | 3.4948 | 0
45 | 3.4948 | 1.9914
90 | 3.4948 | 1.9914
135 | 0 | 0.99569
180 | -2.7958 | 0.99569
225 | -4.1937 | 0
270 | -0.69895 | 0
max | 3.4948 | 1.9914
min | -4.1937 | 0
total | 7.6885 | 1.9914
assumed
mirror

## Clamped_pin_y_corners
Flexure tests in optical lab with mahr gauges | [5 empty] | 2001-06-04
Slider #4 mounted on 1" plate - "pin corner" & "y" corner of slider clamped to 1" plate
| Gauge 1 | Gauge 7 | Gauge 8 |  | diff 1 - 7 | diff 7 - 8
270 | 0 | 0 | 0 |  | 0 | 0
225 | -0.5 | 0.1 | 0 |  | -0.6 | 0.1
180 | -0.6 | 0.1 | 0 |  | -0.7 | 0.1
135 | -0.2 | 0.1 | -0.1 |  | -0.3 | 0.2
90 | 0 | 0.1 | -0.1 |  | -0.1 | 0.2
45 | 0 | 0 | -0.1 |  | 0 | 0.1
360 | 0.3 | 0 | -0.1 |  | 0.3 | 0.1
315 | 0.3 | 0 | -0.1 |  | 0.3 | 0.1
270 | 0.2 | 0 | -0.1 |  | 0.2 | 0.1
315 | 0.3 | -0.1 | -0.1 |  | 0.4 | 0
360 | 0.4 | -0.1 | -0.1 |  | 0.5 | 0
45 | 0.5 | 0 | -0.1 |  | 0.5 | 0.1
90 | 0.4 | 0 | -0.1 |  | 0.4 | 0.1
135 | 0 | 0.1 | -0.1 |  | -0.1 | 0.2
180 | -0.3 | 0.1 | 0 |  | -0.4 | 0.1
225 | -0.4 | 0.1 | 0 |  | -0.5 | 0.1
270 | 0 | 0 | 0 |  | 0 | 0
|  |  |  | range | 1.2 | 0.2
| px 1 - 7 | px 7 - 8
| y flex. | x flex.
270 | 0 | 0
225 | -4.1937 | 0.99569
180 | -4.8927 | 0.99569
135 | -2.0969 | 1.9914
90 | -0.69895 | 1.9914
45 | 0 | 0.99569
360 | 2.0969 | 0.99569
315 | 2.0969 | 0.99569
270 | 1.3979 | 0.99569
315 | 2.7958 | 0
360 | 3.4948 | 0
45 | 3.4948 | 0.99569
90 | 2.7958 | 0.99569
135 | -0.69895 | 1.9914
180 | -2.7958 | 0.99569
225 | -3.4948 | 0.99569
270 | 0 | 0
max | 3.4948 | 1.9914
min | -4.8927 | 0
total | 8.3875 | 1.9914
assumed
mirror

## Clamped_y_corner
Flexure tests in optical lab with mahr gauges | [5 empty] | 2001-06-04
Slider #4 mounted on 1" plate - "y" of slider clamped
| Gauge 1 | Gauge 7 | Gauge 8 |  | diff 1 - 7 | diff 7 - 8
270 | 0 | 0 | 0 |  | 0 | 0
225 | -0.9 | 0.1 | 0.1 |  | -1 | 0
180 | -0.9 | 0.3 | 0.2 |  | -1.2 | 0.1
135 | -0.3 | 0.2 | 0 |  | -0.5 | 0.2
90 | 0.2 | 0 | -0.2 |  | 0.2 | 0.2
45 | 0.6 | -0.5 | -0.7 |  | 1.1 | 0.2
360 | 0.8 | -0.7 | -0.8 |  | 1.5 | 0.1
315 | 0.7 | -0.5 | -0.6 |  | 1.2 | 0.1
270 | 0.1 | -0.3 | -0.3 |  | 0.4 | 0
315 | 0.6 | -0.5 | -0.5 |  | 1.1 | 0
360 | 1 | -0.7 | -0.7 |  | 1.7 | 0
45 | 1.1 | -0.7 | -0.8 |  | 1.8 | 0.1
90 | 1 | -0.5 | -0.7 |  | 1.5 | 0.2
135 | -0.1 | -0.1 | -0.3 |  | 0 | 0.2
180 | -0.7 | 0.3 | 0.2 |  | -1 | 0.1
225 | -1.1 | 0.3 | 0.3 |  | -1.4 | 0
270 | -0.7 | 0.2 | 0.1 |  | -0.9 | 0.1
|  |  |  | range | 3.2 | 0.2
| px 1 - 7 | px 7 - 8
| y flex. | x flex.
270 | 0 | 0
315 | -6.9895 | 0
0 | -8.3875 | 0.99569
45 | -3.4948 | 1.9914
90 | 1.3979 | 1.9914
135 | 7.6885 | 1.9914
180 | 10.4843 | 0.99569
225 | 8.3875 | 0.99569
270 | 2.7958 | 0
225 | 7.6885 | 0
180 | 11.8822 | 0
135 | 12.5812 | 0.99569
90 | 10.4843 | 1.9914
45 | 0 | 1.9914
0 | -6.9895 | 0.99569
315 | -9.7854 | 0
270 | -6.2906 | 0.99569
max | 12.5812 | 1.9914
min | -9.7854 | 0
total | 22.3665 | 1.9914
assumed
mirror

## slider_sides
Flexure tests in optical lab with mahr gauges |  |  |  |  | 2001-06-04
Slider #4 mounted on 1" plate - tilt unclamped
| Gauge 11 | Gauge 12 | Gauge 14 | Gauge 15
270 | 0 | 0 | 0 | 0
225 | -1 | -0.5 | 0 | 1
180 | -1 | -0.5 | 0 | 1
135 | -1 | -0.5 | 0 | 1
90 | -0.5 | 0 | 0 | 1
45 | 0.5 | 0 | -0.5 | 0
360 | 1 | 0 | -0.5 | -0.5
315 | 1 | 0 | -0.5 | -0.5
270 | 0.5 | 0 | 0 | 0
315 | 0.5 | 0 | 0 | -0.5
360 | 1 | 0 | -0.5 | -0.5
45 | 1 | 0 | -0.5 | -0.5
90 | 1 | 0 | -0.5 | -0.5
135 | 0 | 0 | 0 | 0
180 | -1 | -0.5 | 0 | 1
225 | -1 | -0.5 | 0 | 1
270 | -1 | -0.5 | 0 | 1
| mils | mils
| 11 + 15 | 12 + 14
270 | 0 | 0
225 | 0 | -0.5
180 | 0 | -0.5
135 | 0 | -0.5
90 | 0.5 | 0
45 | 0.5 | -0.5
360 | 0.5 | -0.5
315 | 0.5 | -0.5
270 | 0.5 | 0
315 | 0 | 0
360 | 0.5 | -0.5
45 | 0.5 | -0.5
90 | 0.5 | -0.5
135 | 0 | 0
180 | 0 | -0.5
225 | 0 | -0.5
270 | 0 | -0.5
max | 0.5 | 0
min | 0 | -0.5
total | 0.5 | 0.5

## encoder
Flexure tests in optical lab with mahr gauges | [5 empty] | 2001-06-04
Slider #4 mounted on 1" plate - tilt unclamped
With Guley encoder connected | [8 empty] | pixels
| Gauge 1 | Gauge 7 | Gauge 8 | Gauge 13 | Encoder |  | diff 1 - 7 | diff 7 - 8 | encoder
270 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
315 | 0.5 | -0.2 | -0.3 | -0.2 | 12 |  | 0.7 | 0.1 | 5.796
0 | 0.9 | -0.4 | -0.4 | -0.2 | 24 |  | 1.3 | 0 | 11.592
45 | 1.1 | -0.4 | -0.5 | -0.2 | 28 |  | 1.5 | 0.1 | 13.524
90 | 0.9 | -0.2 | -0.4 | -0.2 | 24 |  | 1.1 | 0.2 | 11.592
135 | 0 | 0.2 | 0 | 0.3 | 9 |  | -0.2 | 0.2 | 4.347
180 | -0.6 | 0.6 | 0.5 | 1.7 | -7 |  | -1.2 | 0.1 | -3.381
225 | -1 | 0.6 | 0.5 | 1.8 | -10 |  | -1.6 | 0.1 | -4.83
270 | -0.5 | 0.4 | 0.4 | 1.2 | -5 |  | -0.9 | 0 | -2.415
225 | -0.9 | 0.6 | 0.5 | 1.8 | -10 |  | -1.5 | 0.1 | -4.83
180 | -0.9 | 0.6 | 0.5 | 1.8 | -7 |  | -1.5 | 0.1 | -3.381
135 | -0.3 | 0.5 | 0.3 | 1.3 | 4 |  | -0.8 | 0.2 | 1.932
90 | 0.1 | 0.3 | 0 | 0.4 | 17 |  | -0.2 | 0.3 | 8.211
45 | 0.5 | -0.2 | -0.4 | -1 | 27 |  | 0.7 | 0.2 | 13.041
0 | 0.5 | -0.3 | -0.5 | -1.3 | 25 |  | 0.8 | 0.2 | 12.075
315 | 0.7 | -0.2 | -0.3 | -1 | 15 |  | 0.9 | 0.1 | 7.245
270 | 0 | 0 | 0 | 0.1 | 2 |  | 0 | 0 | 0.966
| 2.1 | 1 | 1 | 3.1 | 38 | range | 3.1 | 0.3 | 18.354
| asec 1 - 7 | asec 7 - 8
| y flex. | x flex.
270 | 0 | 0
315 | 4.8927 | 0.99569
0 | 9.0864 | 0
45 | 10.4843 | 0.99569
90 | 7.6885 | 1.9914
135 | -1.3979 | 1.9914
180 | -8.3875 | 0.99569
225 | -11.1833 | 0.99569
270 | -6.2906 | 0
225 | -10.4843 | 0.99569
180 | -10.4843 | 0.99569
135 | -5.5916 | 1.9914
90 | -1.3979 | 2.9871
45 | 4.8927 | 1.9914
0 | 5.5916 | 1.9914
315 | 6.2906 | 0.99569
270 | 0 | 0
max | 10.4843 | 2.9871
min | -11.1833 | 0 |  | Drew's blip at PA = 0
total | 21.6676 | 2.9871
assumed
mirror

## encoder_lookup
Flexure tests in optical lab with mahr gauges | [5 empty] | 2001-06-04
Slider #4 mounted on 1" plate - tilt unclamped | [9 empty] | 10 | ratio
With Guley encoder connected | [8 empty] | pixels | 60 | -10
| Gauge 1 | Gauge 7 | Gauge 8 | Gauge 13 | Encoder |  | diff 1 - 7 | diff 7 - 8 | encoder | sin | lookup | lookup
270 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | -4.3251 | -5 | 50 | 0
315 | 0.5 | -0.2 | -0.3 | -0.2 | 12 |  | 0.7 | 0.1 | 1.6365 | 2.5882 | -25.8819 | -75.8819
0 | 0.9 | -0.4 | -0.4 | -0.2 | 24 |  | 1.3 | 0 | 7.5981 | 8.6603 | -86.6025 | -136.6025
45 | 1.1 | -0.4 | -0.5 | -0.2 | 28 |  | 1.5 | 0.1 | 9.5853 | 9.6593 | -96.5926 | -146.5926
90 | 0.9 | -0.2 | -0.4 | -0.2 | 24 |  | 1.1 | 0.2 | 7.5981 | 5 | -50 | -100
135 | 0 | 0.2 | 0 | 0.3 | 9 |  | -0.2 | 0.2 | 0.14612 | -2.5882 | 25.8819 | -24.1181
180 | -0.6 | 0.6 | 0.5 | 1.7 | -7 |  | -1.2 | 0.1 | -7.8027 | -8.6603 | 86.6025 | 36.6025
225 | -1 | 0.6 | 0.5 | 1.8 | -10 |  | -1.6 | 0.1 | -9.2931 | -9.6593 | 96.5926 | 46.5926
270 | -0.5 | 0.4 | 0.4 | 1.2 | -5 |  | -0.9 | 0 | -6.8091 | -5 | 50 | 0
225 | -0.9 | 0.6 | 0.5 | 1.8 | -10 |  | -1.5 | 0.1 | -9.2931 | -9.6593 | 96.5926 | 46.5926
180 | -0.9 | 0.6 | 0.5 | 1.8 | -7 |  | -1.5 | 0.1 | -7.8027 | -8.6603 | 86.6025 | 36.6025
135 | -0.3 | 0.5 | 0.3 | 1.3 | 4 |  | -0.8 | 0.2 | -2.3379 | -2.5882 | 25.8819 | -24.1181
90 | 0.1 | 0.3 | 0 | 0.4 | 17 |  | -0.2 | 0.3 | 4.1205 | 5 | -50 | -100
45 | 0.5 | -0.2 | -0.4 | -1 | 27 |  | 0.7 | 0.2 | 9.0885 | 9.6593 | -96.5926 | -146.5926
0 | 0.5 | -0.3 | -0.5 | -1.3 | 25 |  | 0.8 | 0.2 | 8.0949 | 8.6603 | -86.6025 | -136.6025
315 | 0.7 | -0.2 | -0.3 | -1 | 15 |  | 0.9 | 0.1 | 3.1269 | 2.5882 | -25.8819 | -75.8819
270 | 0 | 0 | 0 | 0.1 | 2 |  | 0 | 0 | -3.3315 | -5 | 50 | 0
| 2.1 | 1 | 1 | 3.1 | 38 | range | 3.1 | 0.3 | 18.8784
[5 empty] | 8.7059 | Average |  |  | 7.0369e-16
| asec 1 - 7 | asec 7 - 8
| y flex. | x flex.
270 | 0 | 0
315 | 4.8927 | 0.99569
0 | 9.0864 | 0
45 | 10.4843 | 0.99569
90 | 7.6885 | 1.9914
135 | -1.3979 | 1.9914
180 | -8.3875 | 0.99569
225 | -11.1833 | 0.99569
270 | -6.2906 | 0
225 | -10.4843 | 0.99569
180 | -10.4843 | 0.99569
135 | -5.5916 | 1.9914
90 | -1.3979 | 2.9871
45 | 4.8927 | 1.9914
0 | 5.5916 | 1.9914
315 | 6.2906 | 0.99569
270 | 0 | 0
max | 10.4843 | 2.9871
min | -11.1833 | 0 |  | Drew's blip at PA = 0
total | 21.6676 | 2.9871
assumed
mirror

## encoder_map
Flexure tests in optical lab with mahr gauges | [5 empty] | 2001-06-06
Slider #4 mounted on 1" plate - tilt unclamped
With Guley encoder connected | [8 empty] | pixels
| Motor | Gurley | Gauge 1 | Gauge 7 | Gauge 8 |  | diff 1 - 7 | diff 7 - 8 | encoder
270 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | -2.5944
315 | -76 | 6 | 0.5 | 0 | -0.1 |  | 0.5 | 0.1 | 0.3864
0 | -137 | 12 | 0.8 | 0 | -0.1 |  | 0.8 | 0.1 | 3.3672
45 | -147 | 16 | 0.5 | 0 | -0.2 |  | 0.5 | 0.2 | 5.3544
90 | -100 | 16 | -0.4 | 0.1 | -0.1 |  | -0.5 | 0.2 | 5.3544
135 | -24 | 8 | 0 | 0.2 | 0.1 |  | -0.2 | 0.1 | 1.38
180 | 37 | -2 | -0.9 | 0.3 | 0.4 |  | -1.2 | -0.1 | -3.588
225 | 47 | -5 | -2.1 | -0.2 | 0.5 |  | -1.9 | -0.7 | -5.0784
270 | 0 | -4 | 0 | 0.5 | 0.4 |  | -0.5 | 0.1 | -4.5816
225
180
135
90
45
0
315
270
| 194 | 21 | 2.9 | 0.7 | 0.7 | range | 2.7 | 0.9
|  | 5.2222 |  |  | 0.1 | Average
| asec 1 - 7 | asec 7 - 8
| y flex. | x flex.
270 | 0 | 0
315 | 3.4948 | 0.99569
0 | 5.5916 | 0.99569
45 | 3.4948 | 1.9914
90 | -3.4948 | 1.9914
135 | -1.3979 | 0.99569
180 | -8.3875 | -0.99569
225 | -13.2801 | -6.9698
270 | -3.4948 | 0.99569
225
180
135
90
45
0
315
270
max | 5.5916 | 1.9914
min | -13.2801 | -6.9698 |  | Drew's blip at PA = 0
range | 18.8718 | 8.9612
assumed
mirror

## rev_b
Flexure tests in optical lab with mahr gauges | [5 empty] | 2001-06-12
Slider #4 mounted on 1" plate - tilt unclamped with "missing screws" installed
Clamp 5 set approx. 250 lb. - required 140 lb to close contact on hardpads at PA = 270
| Gauge 1 | Gauge 7 | Gauge 8 |  | diff 1 - 7 | diff 7 - 8
270 | 0 | 0 | 0 |  | 0 | 0
225 | -0.6 | 0.2 | 0.2 |  | -0.8 | 0
180 | -0.6 | 0.3 | 0.2 |  | -0.9 | 0.1
135 | 0 | 0.5 | 0 |  | -0.5 | 0.5
90 | 0.4 | 0 | -0.2 |  | 0.4 | 0.2
45 | 0.6 | -0.4 | -0.6 |  | 1 | 0.2
360 | 0.1 | -0.5 | -0.7 |  | 0.6 | 0.2
315 | 0.9 | -0.4 | -0.5 |  | 1.3 | 0.1
270 | 0.5 | -0.2 | -0.2 |  | 0.7 | 0
315 | 0.9 | -0.4 | -0.5 |  | 1.3 | 0.1
360 | 1.2 | -0.5 | -0.6 |  | 1.7 | 0.1
45 | 1.1 | -0.5 | -0.7 |  | 1.6 | 0.2
90 | 0.9 | -0.3 | -0.6 |  | 1.2 | 0.3
135 | 0.2 | -0.1 | -0.3 |  | 0.3 | 0.2
180 | -0.5 | 0.4 | 0.2 |  | -0.9 | 0.2
225 | -0.3 | 0.4 | 0.3 |  | -0.7 | 0.1
270 | 0.5 | 0.2 | 0.2 |  | 0.3 | 0
| 1.8 | 1 | 1 | range | 2.6 | 0.5
| px 1 - 7 | px 7 - 8
| y flex. | x flex.
270 | 0 | 0 |  |  |  |  | 0.81008
225 | -5.5916 | 0
180 | -6.2906 | 0.99569
135 | -3.4948 | 4.9784
90 | 2.7958 | 1.9914
45 | 6.9895 | 1.9914
360 | 4.1937 | 1.9914
315 | 9.0864 | 0.99569
270 | 4.8927 | 0
315 | 9.0864 | 0.99569
360 | 11.8822 | 0.99569
45 | 11.1833 | 1.9914
90 | 8.3875 | 2.9871
135 | 2.0969 | 1.9914
180 | -6.2906 | 1.9914
225 | -4.8927 | 0.99569
270 | 2.0969 | 0
max | 11.8822 | 4.9784
min | -6.2906 | 0
total | 18.1728 | 4.9784
assumed
mirror

## center_clamp
Flexure tests in optical lab with mahr gauges | [5 empty] | 2001-06-12
Slider #4 mounted on 1" plate - tilt unclamped with "missing screws" installed - 3rd z-pad & clamp in center
Clamp 5 set approx. 250 lb. - required 140 lb to close contact on hardpads at PA = 270
| Gauge 1 | Gauge 7 | Gauge 8 |  | diff 1 - 7 | diff 7 - 8
270 | 0 | 0 | 0 |  | 0 | 0
315 | 0 | -0.1 | -0.1 |  | 0.1 | 0
360 | 0.1 | -0.2 | -0.3 |  | 0.3 | 0.1
45 | 0.2 | -0.2 | -0.3 |  | 0.4 | 0.1
90 | 0.2 | 0 | -0.2 |  | 0.2 | 0.2
135 | -0.5 | 0.2 | 0 |  | -0.7 | 0.2
180 | -0.7 | 0.2 | 0.2 |  | -0.9 | 0
225 | -0.9 | 0.2 | 0.2 |  | -1.1 | 0
270 | -0.5 | 0 | 0.1 |  | -0.5 | -0.1
225 | -0.7 | 0.1 | 0.2 |  | -0.8 | -0.1
180 | -0.6 | 0.2 | 0.2 |  | -0.8 | 0
135 | -0.5 | 0.2 | 0.2 |  | -0.7 | 0
90 | -0.4 | 0.1 | 0.1 |  | -0.5 | 0
45 | -0.4 | -0.1 | -0.1 |  | -0.3 | 0
360 | -0.1 | -0.2 | -0.2 |  | 0.1 | 0
315 | 0.2 | -0.2 | -0.2 |  | 0.4 | 0
270 | 0.1 | 0 | 0 |  | 0.1 | 0
| 1.1 | 0.4 | 0.5 | range | 1.5 | 0.3
| px 1 - 7 | px 7 - 8
| y flex. | x flex.
270 | 0 | 0
315 | 0.69895 | 0
360 | 2.0969 | 0.99569
45 | 2.7958 | 0.99569
90 | 1.3979 | 1.9914
135 | -4.8927 | 1.9914
180 | -6.2906 | 0
225 | -7.6885 | 0
270 | -3.4948 | -0.99569
225 | -5.5916 | -0.99569
180 | -5.5916 | 0
135 | -4.8927 | 0
90 | -3.4948 | 0
45 | -2.0969 | 0
360 | 0.69895 | 0
315 | 2.7958 | 0
270 | 0.69895 | 0
max | 2.7958 | 1.9914
min | -7.6885 | -0.99569
total | 10.4843 | 2.9871
assumed
mirror

## center_clamp_no_V
Flexure tests in optical lab with mahr gauges |  |  |  |  | y corner brace removed |  | 2001-06-12
Slider #4 mounted on 1" plate - tilt unclamped with "missing screws" installed - 3rd z-pad & clamp in center
Clamp 5 set approx. 250 lb. - required 140 lb to close contact on hardpads at PA = 270
| Gauge 1 | Gauge 7 | Gauge 8 |  | diff 1 - 7 | diff 7 - 8
270 | 0 | 0 | 0 |  | 0 | 0
315 | 0.1 | -0.1 | -0.1 |  | 0.2 | 0
360 | 0.3 | -0.2 | -0.3 |  | 0.5 | 0.1
45 | 0.4 | -0.2 | -0.3 |  | 0.6 | 0.1
90 | 0.3 | 0 | -0.2 |  | 0.3 | 0.2
135 | -0.4 | 0.1 | 0 |  | -0.5 | 0.1
180 | -0.7 | 0.1 | 0.2 |  | -0.8 | -0.1
225 | -0.8 | 0.1 | 0.2 |  | -0.9 | -0.1
270 | -0.4 | -0.1 | 0.1 |  | -0.3 | -0.2
225 | -0.7 | 0 | 0.2 |  | -0.7 | -0.2
180 | -0.7 | 0.1 | 0.2 |  | -0.8 | -0.1
135 | -0.5 | 0.1 | 0.1 |  | -0.6 | 0
90 | -0.4 | 0 | 0 |  | -0.4 | 0
45 | -0.4 | -0.2 | -0.2 |  | -0.2 | 0
360 | -0.3 | -0.2 | -0.2 |  | -0.1 | 0
315 | -0.4 | -0.2 | -0.2 |  | -0.2 | 0
270 | -0.2 | -0.1 | -0.2 |  | -0.1 | 0.1
| 1.2 | 0.3 | 0.5 | range | 1.5 | 0.4
| px 1 - 7 | px 7 - 8
| y flex. | x flex.
270 | 0 | 0
315 | 1.3979 | 0
360 | 3.4948 | 0.99569
45 | 4.1937 | 0.99569
90 | 2.0969 | 1.9914
135 | -3.4948 | 0.99569
180 | -5.5916 | -0.99569
225 | -6.2906 | -0.99569
270 | -2.0969 | -1.9914
225 | -4.8927 | -1.9914
180 | -5.5916 | -0.99569
135 | -4.1937 | 0
90 | -2.7958 | 0
45 | -1.3979 | 0
360 | -0.69895 | 0
315 | -1.3979 | 0
270 | -0.69895 | 0.99569
max | 4.1937 | 1.9914
min | -6.2906 | -1.9914
total | 10.4843 | 3.9828
assumed
mirror

## Center_clamp_no_diag
Flexure tests in optical lab with mahr gauges |  |  |  |  | y corner brace removed & diagonal released |  |  | 2001-06-12
Slider #4 mounted on 1" plate - tilt unclamped with "missing screws" installed - 3rd z-pad & clamp in center
Clamp 5 set approx. 250 lb. - required 140 lb to close contact on hardpads at PA = 270
| Gauge 1 | Gauge 7 | Gauge 8 |  | diff 1 - 7 | diff 7 - 8
270 | 0 | 0 | 0 |  | 0 | 0
315 | 0.1 | -0.2 | -0.2 |  | 0.3 | 0
360 | 0.3 | -0.2 | -0.3 |  | 0.5 | 0.1
45 | 0.5 | -0.2 | -0.4 |  | 0.7 | 0.2
90 | 0.4 | 0.1 | -0.2 |  | 0.3 | 0.3
135 | -0.2 | 0.2 | 0 |  | -0.4 | 0.2
180 | -0.5 | 0.2 | 0.2 |  | -0.7 | 0
225 | -0.6 | 0.2 | 0.2 |  | -0.8 | 0
270 | -0.4 | 0 | 0.1 |  | -0.4 | -0.1
225 | -0.6 | 0.2 | 0.2 |  | -0.8 | 0 | arbitrarly changed gauge 7 from .7 to .2
180 | -0.5 | 0.2 | 0.2 |  | -0.7 | 0
135 | -0.3 | 0.2 | 0.1 |  | -0.5 | 0.1
90 | -0.2 | 0.1 | -0.1 |  | -0.3 | 0.2
45 | -0.1 | -0.2 | -0.3 |  | 0.1 | 0.1
360 | 0.1 | -0.2 | -0.3 |  | 0.3 | 0.1
315 | 0 | -0.2 | -0.3 |  | 0.2 | 0.1
270 | 0 | 0 | -0.1 |  | 0 | 0.1
| 1.1 | 0.4 | 0.6 | range | 1.5 | 0.4
| px 1 - 7 | px 7 - 8
| y flex. | x flex.
270 | 0 | 0
315 | 2.0969 | 0
360 | 3.4948 | 0.99569
45 | 4.8927 | 1.9914
90 | 2.0969 | 2.9871
135 | -2.7958 | 1.9914
180 | -4.8927 | 0
225 | -5.5916 | 0
270 | -2.7958 | -0.99569
225 | -5.5916 | 0
180 | -4.8927 | 0
135 | -3.4948 | 0.99569
90 | -2.0969 | 1.9914
45 | 0.69895 | 0.99569
360 | 2.0969 | 0.99569
315 | 1.3979 | 0.99569
270 | 0 | 0.99569
max | 4.8927 | 2.9871
min | -5.5916 | -0.99569
total | 10.4843 | 3.9828
assumed
mirror

## reverse_clamp
Flexure tests in optical lab with mahr gauges | [6 empty] | 2001-06-14
Slider #4 mounted on 1" plate - tilt unclamped with "missing screws" installed - 3rd z-pad & clamp on right side
Clamp 5 set approx. 250 lb. - required 140 lb to close contact on hardpads at PA = 270
| Gauge 1 | Gauge 7 | Gauge 8 |  | diff 1 - 7 | diff 7 - 8
270 | 0 | 0 | 0 |  | 0 | 0
315 | 0 | -0.1 | 0 |  | 0.1 | -0.1
360 | 0.2 | 0 | -0.1 |  | 0.2 | 0.1
45 | 1 | 0.1 | -0.1 |  | 0.9 | 0.2
90 | 1.2 | 0.2 | -0.1 |  | 1 | 0.3
135 | 1.1 | 0.2 | 0 |  | 0.9 | 0.2
180 | 0.7 | 0.2 | 0 |  | 0.5 | 0.2
225 | 0.2 | 0.2 | 0.1 |  | 0 | 0.1
270 | -0.1 | 0 | 0 |  | -0.1 | 0
225 | 0 | 0.1 | 0 |  | -0.1 | 0.1
180 | 0.2 | 0.2 | 0 |  | 0 | 0.2
135 | 0.4 | 0.2 | 0 |  | 0.2 | 0.2
90 | 0.7 | 0.1 | 0 |  | 0.6 | 0.1
45 | 0.9 | 0.1 | -0.1 |  | 0.8 | 0.2
360 | 0.6 | 0 | -0.1 |  | 0.6 | 0.1
315 | 0.3 | 0 | -0.1 |  | 0.3 | 0.1
270 | 0 | 0.1 | 0 |  | -0.1 | 0.1
| 1.3 | 0.3 | 0.2 | range | 1.1 | 0.4
| px 1 - 7 | px 7 - 8
| y flex. | x flex.
270 | 0 | 0
315 | 0.69895 | -0.99569
360 | 1.3979 | 0.99569
45 | 6.2906 | 1.9914
90 | 6.9895 | 2.9871
135 | 6.2906 | 1.9914
180 | 3.4948 | 1.9914
225 | 0 | 0.99569
270 | -0.69895 | 0
225 | -0.69895 | 0.99569
180 | 0 | 1.9914
135 | 1.3979 | 1.9914
90 | 4.1937 | 0.99569
45 | 5.5916 | 1.9914
360 | 4.1937 | 0.99569
315 | 2.0969 | 0.99569
270 | -0.69895 | 0.99569
max | 6.9895 | 2.9871
min | -0.69895 | -0.99569
total | 7.6885 | 3.9828
assumed
mirror

## reverse_clamp_software
Flexure tests in optical lab with mahr gauges |  |  |  |  | with software control |  | 2001-06-14
Slider #4 mounted on 1" plate - tilt unclamped with "missing screws" installed - 3rd z-pad & clamp on right side
Clamp 5 set approx. 250 lb. - required 140 lb to close contact on hardpads at PA = 270
| Gauge 1 | Gauge 7 | Gauge 8 |  | diff 1 - 7 | diff 7 - 8
270 | 0 | 0 | 0 |  | 0 | 0
315 | 0.1 | 0 | 0 |  | 0.1 | 0
360 | 0.5 | 0.1 | 0.1 |  | 0.4 | 0
45 | 0.9 | 0.3 | 0.2 |  | 0.6 | 0.1
90 | 0.9 | 0.4 | 0.2 |  | 0.5 | 0.2
135 | 1.1 | 0.4 | 0.2 |  | 0.7 | 0.2
180 | 1.1 | 0.2 | 0.1 |  | 0.9 | 0.1
225 | 0.8 | 0 | 0 |  | 0.8 | 0
270 | 0.3 | -0.1 | -0.1 |  | 0.4 | 0
225 | 0.3 | 0 | 0 |  | 0.3 | 0
180 | 0.4 | 0.2 | 0 |  | 0.2 | 0.2
135 | 0.6 | 0.3 | 0.2 |  | 0.3 | 0.1
90 | 0.7 | 0.4 | 0.2 |  | 0.3 | 0.2
45 | 0.5 | 0.3 | 0.2 |  | 0.2 | 0.1
360 | 0.4 | 0.2 | 0.2 |  | 0.2 | 0
315 | 0.3 | 0 | 0 |  | 0.3 | 0
270 | 0.4 | 0 | 0 |  | 0.4 | 0
| 1.1 | 0.5 | 0.3 | range | 0.9 | 0.2
| px 1 - 7 | px 7 - 8
| y flex. | x flex.
270 | 0 | 0
315 | 0.69895 | 0
360 | 2.7958 | 0
45 | 4.1937 | 0.99569
90 | 3.4948 | 1.9914
135 | 4.8927 | 1.9914
180 | 6.2906 | 0.99569
225 | 5.5916 | 0
270 | 2.7958 | 0
225 | 2.0969 | 0
180 | 1.3979 | 1.9914
135 | 2.0969 | 0.99569
90 | 2.0969 | 1.9914
45 | 1.3979 | 0.99569
360 | 1.3979 | 0
315 | 2.0969 | 0
270 | 2.7958 | 0
max | 6.2906 | 1.9914
min | 0 | 0
total | 6.2906 | 1.9914
assumed
mirror

## center_clamp_software
Flexure tests in optical lab with mahr gauges |  |  |  |  | with software control |  | 2001-06-14
Slider #4 mounted on 1" plate - tilt unclamped with "missing screws" installed - 3rd z-pad & clamp on right side
Clamp 5 set approx. 250 lb. - required 140 lb to close contact on hardpads at PA = 270
| Gauge 1 | Gauge 7 | Gauge 8 |  | diff 1 - 7 | diff 7 - 8
270 | 0 | 0 | 0 |  | 0 | 0
315 | 0 | 0 | 0 |  | 0 | 0
360 | 0.4 | 0.1 | 0.1 |  | 0.3 | 0
45 | 0.7 | 0.3 | 0.2 |  | 0.4 | 0.1
90 | 0.8 | 0.4 | 0.3 |  | 0.4 | 0.1
135 | 0.8 | 0.4 | 0.2 |  | 0.4 | 0.2
180 | 0.7 | 0.1 | 0.1 |  | 0.6 | 0
225 | 0.1 | -0.1 | 0 |  | 0.2 | -0.1
270 | 0.1 | -0.1 | 0 |  | 0.2 | -0.1
225 | 0.1 | -0.1 | 0 |  | 0.2 | -0.1
180 | 0.1 | 0.1 | 0.1 |  | 0 | 0
135 | 0.4 | 0.3 | 0.2 |  | 0.1 | 0.1
90 | 0.4 | 0.3 | 0.3 |  | 0.1 | 0
45 | 0.1 | 0.2 | 0.2 |  | -0.1 | 0
360 | 0.5 | 0.1 | 0.2 |  | 0.4 | -0.1
315 | 0.2 | 0 | 0.1 |  | 0.2 | -0.1
270 | 0.2 | -0.1 | 0 |  | 0.3 | -0.1
| 0.8 | 0.5 | 0.3 | range | 0.7 | 0.3
| px 1 - 7 | px 7 - 8
| y flex. | x flex.
270 | 0 | 0
315 | 0 | 0
360 | 2.0969 | 0
45 | 2.7958 | 0.99569
90 | 2.7958 | 0.99569
135 | 2.7958 | 1.9914
180 | 4.1937 | 0
225 | 1.3979 | -0.99569
270 | 1.3979 | -0.99569
225 | 1.3979 | -0.99569
180 | 0 | 0
135 | 0.69895 | 0.99569
90 | 0.69895 | 0
45 | -0.69895 | 0
360 | 2.7958 | -0.99569
315 | 1.3979 | -0.99569
270 | 2.0969 | -0.99569
max | 4.1937 | 1.9914
min | -0.69895 | -0.99569
total | 4.8927 | 2.9871
assumed
mirror