## Slide 1
Adaptive Optics for Vision Science
Claire Max
Astro 289, UCSC
March 5, 2020
Based on lectures by Jason Porter (U. Houston) Austin Roorda (UC Berkeley)
Robert Zawadzki (UC Davis)

## Slide 2
Light
http://www.ai.rug.nl/~lambert/projects/BCI/literature/misc
Human eye

## Slide 3
Anatomy of the human eye
cornea
lens
From Hubel - Eye, Brain & Vision
Retina is a 3D structure!

## Slide 6
Optical power in diopters ≡ 1 / focal length in meters

## Slide 9: Spatial Distribution of Rods and Cones
0
20000
40000
60000
80000
100000
120000
140000
160000
180000
-25
-20
-15
-10
-5
0
5
10
15
20
retinal eccentricity (mm)
spatial density (#/mm2)
cones
rods
Osterberg, Acta Ophthalmologica, 6:1-103, 1935
Curcio et al, Journal of Comparative Neurology, 292:497-523, 1990

## Slide 13
And how to correct it with AO

## Slide 14: Point Spread Function vs. Pupil Size
1 mm
2 mm
3 mm
4 mm
5 mm
6 mm
7 mm
Perfect Eye
Typical Eye
AO
C. of Austin Roorda

## Slide 15
Wave
Aberration
Pointspread
Function
Retinal Image
0.5 deg
Perfect eye
(diffraction limited)
MRB
GYY
MAK
Every eye has a different pattern
of high order aberrations
5.7 mm pupil

## Slide 16: How can we use AO to improve
?
the resolution of
retinal images?
the quality of vision?

## Slide 17
AO for astronomy and vision science are
fundamentally similar, but face different challenges
Ocular
aberrations
Personnel
Pupil
Subject
< $200k
Notes: Principles of AO for vision science are similar to those in astronomy, but the 2 fields face different challenges.
- Temporal variations in the eye’s aberrations occur on a much slower time scale than in astronomy.
In addition, vision science AO systems are typically not as light starved as astronomical AO systems,
- isoplanatic patch size in the eye is on the order of a degree or so, compared with being on the order of arc minutes in astronomy.
On the other hand, vision science AO systems have to deal with eye movements, blinks and changes in position

## Slide 18
Sources of Retinal Image Blur
Diffraction
Aberrations
Light Scatter

## Slide 19
wavefront
sensor
wavefront corrector
laser
beacon
imaging
AO for
Astronomy
Sky
LGS

## Slide 20
laser
beacon
imaging
AO for
Astronomy
Sky
LGS
wavefront
sensor
wavefront corrector

## Slide 21
laser
beacon
illumination
imaging
Eye
wavefront
sensor
wavefront corrector
AO for
Vision Science

## Slide 22
laser
beacon
illumination
imaging
AO for
Vision Science
Eye
wavefront
sensor
wavefront corrector

## Slide 23
wavefront
sensing
wavefront correction
laser
beacon
vision testing
AO for
Vision Science
Eye

## Slide 24
Liang J, Williams DR, and Miller DT. Supernormal vision and high resolution retinal imaging through adaptive optics. J. Opt. Soc. Am. A., 1997;14:2884-2892.
First demonstration of retinal imaging & vision improvement by correcting higher order aberrations

## Slide 25
U Rochester: Early AO Ophthalmoscope
97-channel
Deformable mirror
Wavefront sensor
Science camera

## Slide 26: Recent instruments are compact: Roorda’s compact scanning laser ophthalmoscope
Can be rolled from room to room
Not only imaging, but also a scanning confocal microscope

## Slide 27
Will depend on several factors, including the complexity of (spatial frequencies contained in) the wavefront
How many lenslets do I need to adequately sample and reconstruct the wavefront?
Fewer lenslets
Poor representation of the wavefront
More lenslets
More precise representation of the wavefront
Lenslet
Diameter
Original
wavefront
Averaged
wavefront
Lenslet
Diameter
G. Yoon, “Wavefront sensing and diagnostic uses,“ Chapter 3, Adaptive Optics for Vision Science (2006).

## Slide 28
-5
-4
-3
-2
-1
0
1
2
3
1
2
3
4
5
6
7
8
9
10
Zernike Order (N)
Log10 (Wavefront Variance) [m]
Rochester
Indiana
There is a measurable amount of aberration in normal eyes up to at least the 8th radial order
Diffraction limit
(l = 600 nm)
N. Doble & D.T. Miller, “Vision correctors for vision science,“ Chapter 4, Adaptive Optics for Vision Science (2006).
N. Doble, et al., "Requirements for discrete actuator and segmented wavefront correctors for aberration compensation in two large populations of human eyes," Appl. Opt. 46, 4501-4514 (2007),
(70 normal eyes, 7.5 mm pupil)
Notes: The Indiana population has a measurable amount of aberration up until at least the 8th order, on average.
However, if one wants to correct nearly the entire population, we’d have to have a wavefront sensor that was capable of measuring aberrations out to the 10th order for Indiana, or maybe even higher for Rochester!

## Slide 29
Lenslet array parameters:
  ~200 for dilated pupil (15 x 15 to 20 x 20 arrays within 6-8 mm pupil)
# pixels across spot core: 4 to 14
  Note that vision science AO systems typically use many more pixels per subaperture than astronomy systems
Wavelength: 633 – 850 nm
Other parameters to consider:
  CCD pixel size
  CCD frame rate (don’t need super low read noise)
Typical Shack-Hartmann wavefront sensor parameters for the normal human eye

## Slide 30
How fast does my vision AO system need to go?

## Slide 33: Conventional fundus photograph – 40º FOV (~ 12mm)
Optic
disc
Fovea
1° isoplanatic
patch
Example:
40 deg fundus image
would require collection of
p(40°/2)2 / p(1°/2)2 = 1,600
one-degree AO images.

## Slide 34
1 deg eccentricity
Adaptive optics can resolve individual photoreceptors in the living eye
~ 50 μm
Without AO
(single image)
With AO
(single image)
With AO
(registered sum)
Heidi Hofer, David Williams

## Slide 35
AO can “zoom in” to see single cells
~6 mm
~20
~0.9 mm
~3
2-3 m
resolution
~0.3 mm (~1)

## Slide 36
‡
Jennifer Hunter, David Williams
AO allows visualization of different cell types and for visual psychophysics on a cellular scale
Joe Carroll, Alf Dubra
Cone & rod photoreceptors
Ganglion cells
RPE
*
*
#
✜
†
‡
†
★
#
†
Vasculature
& Blood Flow
#
✜
Donald Miller, Omer Kocaoglu
Dan Gray, Jessica Morgan, Jason Porter, Bill Merigan, David Williams
Stephen Burns
Ying Geng, David Williams
★
✪

Heidi Hofer, Austin Roorda, Joe Carroll, D. Williams
Austin Roorda, Curt Vogel, David Arathorn
✪
Functional Testing
+


## Slide 37: Applications of AO
Basic science imaging
  Properties of retinal cells
  Color vision mechanisms
Clinical applications
  Early diagnosis of disease
  Track disease progression, test efficacy of new drugs
Functional imaging
  Relation between structure and function
  Study retinal circuitry
Vision science
  Vision benefits of aberration correction
  Optical and neural limits of human vision
Dynamical studies
  Blood flow in the eye
  Eye motion
Precision light delivery
  Stimulate single cells
  Targeted laser treatment

## Slide 39
Mapping the trichromatic cone mosaic
MD
JP
JC
YY
HS
AP nasal
AN
RS
JW temporal
BS
JW nasal
AP temporal
5 arcmin
Roorda & Williams (1999) & Hofer (2003)
All of these 12 people have normal, nearly identical color vision despite having different relative numbers of green and red cones!

## Slide 40: Clinical application: Cone tracking to follow progression of eye disease

## Slide 42
AO SLO = scanning laser ophthalmoscope AO OCT = AO optical coherence tomography

## Slide 43
Slices through side view of retina

## Slide 45: Summary
Adaptive optics for imaging the living retina has many similarities with astronomical AO
  “Laser guide star” for wavefront sensing
  Similar wavefront sensors and DMs
A key difference: retina is a 3D structure
  Need both axial and lateral resolution
  AO Scanning Laser Ophthalmoscopes, Optical Coherence Tomography
Applications:
  Physiology and psychology of vision
  Clinical and medical applications